## Slide 1
AC Mains
Smart Meter
AC Breaker Panel
Charge Controller with MPPT
120V vs 240V?
125A Fuse
double pole breaker (30A)?
20A
15A
15A
‘switched’ appliances for load advancement and deferral
AC
Disconnect
Inverter
AC /DC
DC Sub-
Panel
LED circuit
60A ‘breaker’?
DC outlet
PV array
Disconnect
DC
DC
Disconnect
DC /DC
Battery Bank
DC Bus

## Slide 2
Charge Controller with MPPT
Inverter
AC /DC
Disconnect
DC
DC
Disconnect
DC/DC
Battery Bank
DC Bus

## Slide 3
Charge Controller with Voltage Regulation: Battery Management
Inverter
AC /DC
DC Sub-
Panel
LED circuit
60A ‘breaker’?
DC outlet
DC
Disconnect
DC /DC
Battery Bank
DC Bus
Overcharge Protection
Thermal Management
Voltage/Current Regulation
Minimize leakage current

## Slide 4
Bidirectional Charge Converter/Inverter
Inverter
AC /DC
LED circuit
60A ‘breaker’?
DC outlet
DC
Disconnect
DC /DC
DC Bus
Characterize power requirements of loads-battery bank sufficient?
Possibility of providing short-term grid support from battery reserve
User specify direction of current flow
How to test?